## Station Report
Date: | 29-06-2016 | STATION REPORT – BAHERA
| S.NO | PARAMETER | DAY VALUE | UNIT
| 1 | Today Generation | 78.2 | MWh
| 2 | Peak Power | 45.4035 | MW
| 3 | Ambient Temperature Avg | 25.4114 | °C
| 4 | Ambient Temperature Min | 23.8019 | °C
| 5 | Ambient Temperature Max | 29.5433 | °C
| 6 | Module Temp Max | 42.7778 | °C
| 7 | Module Temp Avg | 27.6849 | °C
| 8 | Irradiation Min | 0 | W/m2
| 9 | Irradiation Avg | 152.479 | W/m2
| 10 | Irradiation Max | 1119.45 | W/m2
| 11 | Total Radiation | 1.84 | kWh/m2
| 12 | Wind Speed Avg | 1.9134 | m/s
| 13 | Wind Speed Max | 5.782 | m/s
| 14 | Wind Speed Min | 0 | m/s
| 15 | Reactive Energy Export | 1 | kWh
| 16 | Reactive Energy Import | 3.8 | kWh
| 17 | Net Energy Export | 77.2 | MWh
| 18 | 110 kV Line1 Total Energy Export | 7699.6001 | MWh
| 19 | 110 kV Line1 Total Energy Import | 76.2 | MWh
| 20 | CUF | 6.0892 | %
| 21 | PR | 79.8567 | %

## Sheet2 (hidden)
File Name
Station_Report_Bahera_Day
| SERVER IP | API
| http://192.168.39.83 | /Bahera/ScadaApi/station
OPTION | SERVER IP | API | BLOCK | DEVICE | FIELD | TYPE
0 | {{$D5}} | {{$E5}} | {{$F11:F12}} | {{$G11:G12}} | {{$H11:H29}} | type=day
|  |  | block=CR | device=CR_EM01 | field=EAE_DAY
|  |  | WS | WS | AMBIENT_TEMP_MAX
AMBIENT_TEMP_MIN
AMBIENT_TEMP_AVG
MODULE_TEMP_MAX
MODULE_TEMP_AVG
SOLAR_RADIATION_MAX
SOLAR_RADIATION_MIN
SOLAR_RADIATION_AVG
SOLAR_RADIATION_CUM
WIND_SPEED_MAX
WIND_SPEED_MIN
WIND_SPEED_AVG
PAC_MAX
CUF
PR_DAY
EQE_DAY
EQI_DAY
EAN_DAY